## ORPHEK

PR-DIF100

Designed for commercial greenhouses and aquaculture facilities!

The DIF-100 LED grow light is:

Powerful: 10,000 lumens @ 15,000k, with a spectral curve designed and tailored specifically for high-PUR output, unlike traditional halide and sodium lamps 
Efficient: 90 lumens/watt, the most efficient single die LED light available
Versatile: available in three different wattages and three different optic/lens options allow for spread (frag/growout tanks, hydroponics, and greenhouses) or depth penetration (zoos, public aquariums, and more)
Durable: solid, waterproof construction with a corrosion resistant coating and high quality constant-current electronics allow for decades of operation even in humid or salty environments

DIMENSIONS

### With reflector (optional for commercial greenhouse use)

SPECIFICATIONS

1. LED DATA

| ITEM | MIN | AVG | MAX |
| --- | --- | --- | --- |
| Power | - | 95W | 100W |
| Rated Current | - | 3000mA | 3500mA |
| Rated Voltage | 30V | 32 V | 36V |
| Beam Angle | - | 140deg | - |
| Cool White Temperature | 13000K | 15000K | 18000 K |
| Normal Operation Crystal | - | 85 ℃ | 105 ℃ |
| LED Efficiency | 80LM/W | 85LM/W | 90LM/W |

2. POWER SUPPLY DATA

|  | Posting Mode | Built-in Drive |
| --- | --- | --- |
|  | Input Voltage | AC85V～265V |
|  | Freqency Range | 50Hz～60Hz |
|  | Max input Power | 100W |
|  | Total Harmonic Distortion | ≤ 9 % |
|  | Power Factor | ＞0.98 |
|  | Power Efficiency | ＞85 % |
|  | Output Mode | constant current |
|  | Output Voltage | DC 32-36V |
|  | Certificate | CE |

3. LAMPS TECHNOLOGY DATA

|  | Working Voltage |  |  | DC32-36V |
| --- | --- | --- | --- | --- |
|  | Lamp Quantity |  |  | 1 pc |
|  | Consumption |  |  | 100W |
|  | System Consumption |  |  | 100W |
|  | Led Luminous Efficiency |  |  | 90-100 Lm /W |
|  | Led Initial Flux |  |  | 9000-10000 Lm |
|  | Lamp Efficiency |  |  | ＞90 % |
|  | Average Illuminance | 6M |  | 53.8LUX |
|  |  | 8M |  | 24.6LUX |
|  |  | 10M |  | 13.6LUX |
|  | Illuminance Area | 6M |  | 10*10 M |
|  |  | 8M |  | 16*16M |
|  |  | 10M |  | 21*21M |
|  | Illuminance Uniformity |  |  | ＞0.6 |
|  | Color Temperature |  |  | See above data |
|  | Color Rendering Index |  |  | Ra＞75 |
|  | Light Distribution |  |  | rectangle luminous spot |
|  | Light Design |  |  | LED + reflecting shade |
|  | Junction Temperature |  |  | ≤80℃ |
|  | Working Temperature |  |  | -30℃ ～ 55℃ |
|  | Storage Temperature |  |  | -25℃ ～ +65℃（25℃best） |
|  | IP Grade |  |  | IP65 |
|  | Net weight |  |  | 5.5Kg |
|  | Working Lifespan |  |  | 50000H |
|  | Power line |  |  | 0.75mm2 three line |
|  | Connect Wire |  | Brown | L (Live line) |
|  |  |  | Blue | N (Null line) |
|  |  |  | Yellow/Green | G (Ground line) |
|  | Certificate |  |  | CE |
|  | Color of lamp shell |  |  | Black |

Notes: efficiency can deviate with color temperature ≤5%

4. PHOTOMETRIC DATA

5. LUX Distribution Diagram (LUX)

6. Spectrographs

Orphek DIF-100 (aquarium and aquaculture)

Orphek DIF-100B (aquaculture & horticulture)

Orphek DIF-100R (horticulture)